## Slide 1
Lab Safety:
Physical and Chemical
Hazard
Y.Khosravi
yakhosravi@yahoo.com
Notes: <number>

## Slide 2
Includes (but not limited to):
  Compressed gases
  Electrical equipment
  Lasers
  Thermal hazards
  Radiation
Physical Hazard
Compressed Gases
Radiation
Electrical Equipment
Laser
Thermal Hazard
Chemical Hazard
Notes: <number>

## Slide 3
Compressed gas cylinders must be restrained in an upright position in the lab.
Caps must be in place when cylinder is not in use.
Make sure regulator and supply lines are in good condition.
  Never use rigid plastic tubing, which can shatter if the pressure limits are exceeded.
Compressed Gases
Physical Hazard
Radiation
Electrical Equipment
Laser
Thermal Hazard
Chemical Hazard
Notes: <number>

## Slide 4
When turning on the gas
  Ensure that the flow valve is open (so there will be no pressure in the supply line). Adjust flow valve only after you have opened the regulator.
  Turn your head away from the tank.
Physical Hazard
Radiation
Electrical Equipment
Laser
Thermal Hazard
Compressed Gases
Chemical Hazard
Notes: <number>

## Slide 5
Always inspect electrical cords prior to use. Do not use if they are cracked or have exposed wiring.
Never use electrical appliances near water.
  Make sure hands are dry when unplugging a cord.
Do not overload outlets.
Avoid excessive use of extension cords.
Never override the safety features on electrical equipment.
Electrical Equipment
Physical Hazard
Radiation
Laser
Thermal Hazard
Compressed Gass
Chemical Hazard
Notes: <number>

## Slide 6
If you work with lasers in your lab, your supervisor should provide you with specific operating procedures and safety information.
Laser Safety training is available through UAF EHS&RM (907-474-2762).
Laser
Physical Hazard
Radiation
Electrical Equipment
Compressed Gass
Thermal Hazard
Chemical Hazard
Notes: <number>

## Slide 7
Thermal hazards include both hot and cold objects.
Hot items:
  Use heat-resistant gloves when handling hot items.
  Use caution when heating liquids on hot plates.
    Use a stir bar or Boil-Eezers to ensure even heating of the liquids (to prevent superheating and boil-overs)
    Never leave hot plates unattended.
Thermal Hazard
Physical Hazard
Radiation
Electrical Equipment
Laser
Compressed Gass
Chemical Hazard
Notes: <number>

## Slide 8
Bunsen burners
    Inspect tubing prior to using the burner. It should not have cracks, and should fit tightly to the burner and to the gas spigot.
      Be alert to gas leaks along the tubing—these can ignite.
    Stand back from the burner when lighting the gas.
Thermal Hazard
Physical Hazard
Radiation
Electrical Equipment
Laser
Compressed Gass
Chemical Hazard
Notes: <number>

## Slide 9
Cold
  Liquid Nitrogen (LN2)
    Wear insulated or cryoprotective gloves when accessing LN2.
      Note: cotton mittens are not sufficient. Splashes of LN2 can easily penetrate the mittens, causing frostbite and serious injury.
    Wear face shield or splash goggles to protect face and/or eyes from splashes
Thermal Hazard
Physical Hazard
Radiation
Electrical Equipment
Laser
Compressed Gass
Chemical Hazard
Notes: <number>

## Slide 10
    Use caution when adding items to LN2. Rapid addition of items can result in splashes to the face and hands.
Thermal Hazard
Physical Hazard
Radiation
Electrical Equipment
Laser
Compressed Gass
Chemical Hazard
Notes: <number>

## Slide 11
Radioisotope includes both sealed and unsealed sources.
  Sealed: gas chromatographs,
  Unsealed: 3H, 14C, 32P, 125I
Radioactive
Radiation
Thermal Hazard
Physical Hazard
Electrical Equipment
Laser
Compressed Gass
Chemical Hazard
Notes: <number>

## Slide 12
Use of radioactive materials requires prior authorization from the UAF Radiation Safety Officer (907-474-6771). NOTE: All project members must have UAF Training and Authorization.
Radiation
Thermal Hazard
Physical Hazard
Electrical Equipment
Laser
Compressed Gases
Chemical Hazard
Notes: <number>

## Slide 13
THANKS FOR YOUY ATTENTION
Notes: <number>